## Slide 1: Astronomical site evaluation at Dome Fuji on the Antarctic plateau
Hirofumi OKITA
Based on Okita et al., A&A, 554, L5 (2013)
and some unpublished results
June 17, 2013

## Slide 2: Contents
Introduction
Instrumentations
Data processing and error analysis
Results
Discussion and conclusion
Future work

## Slide 3: Contents
Introduction
Instrumentations
Data processing and error analysis
Results
Discussion and conclusion
Future work

## Slide 4: 1. 1 Aim of this study
The aim of this study is to investigate the astronomical seeing in the free atmosphere above and to determine the height of the surface boundary layer at Dome Fuji on the Antarctic plateau.

## Slide 5: 1. 2 Turbulence in the Atmosphere
Bright Star (Arcturus) Observed with Lick Observatory's 1-m Telescope. (Copyright: Claire Max,
http://cfao.ucolick.org/EO/resources/History_AO_Max.pdf)
Object
Telescope
Atmosphere

## Slide 6: 1. 3 Seeing
Seeing is a parameter that describes how blurry a star image will be. It is caused by atmospheric turbulence and is the apparent angular diameter of a point source measured in arcsecond.
 It is important to choice ”the site”.
Site | seeing
Mauna-kea (Subaru-site) | 0.69”
Cerro Paranal (VLT-site) | 0.88”
Cerro Chajnantor (TAO-site) | 0.69”
La Palma (GTC-site) | 0.69”
Bright Star (Arcturus) Observed with Lick Observatory's 1-m Telescope. (Copyright: Claire Max,
http://cfao.ucolick.org/EO/resources/History_AO_Max.pdf)
Good seeing brings not only high resolution imaging, but also more deeper detection limit.
0.75 mag
0.6”
0.3”
good seeing
excellent seeing
PSF
at wavelength of 500 nm

## Slide 7: 1. 4 Kolmogorov Model
Structure function
Correlation function
In the inertial range, the Velocity fluctuations V [L T-1] are governed only by the scale size l [L] and the rate of energy input and dissipation ε [L2T-3]. Dimensional consideration,
Kolmogorov (1941)
Tyson & Frazier (2012)

## Slide 8: 1. 5 Structure function
Velocity structure function
Temperature structure function
P = pressure in mill bar
T = temperature, K
Refractivity
Refractive index structure function
Tatarskii (1971)
Kolmogorov (1941)

## Slide 9: 1. 6 Fried parameter & seeing
Fried parameter
Phase structure function
Seeing
Fried defined the parameter r0 , which is the diameter of a telescope which would have the same resolving power as in the atmospheric turbulence
k = 2π/λ
ζ = zenith angle

## Slide 10: 1. 7 Atmosphere structure
“Adaptive Optics for Astronomical Telescope” (Hardy 1998)
Surface Boundary Layer
Planetary boundary layer
Tropopause (Jet-stream)
Wind shear
Wind shear
Solar heating
Friction

## Slide 11: 1. 8 Atmosphere structure
“Adaptive Optics for Astronomical Telescope” (Hardy 1998)
During the day, turbulence is usually strongest near the ground, in response to solar heating and the development of thermal currents. At nigh, especially at good observing sites, surface turbulence is low and most disturbances occur in layers at higher altitudes, especially at the tropopause, as a result of wind shear.
The best observing sites are located on mountain peaks near the ocean, which has a moderating effect on temperature variations. (“Adaptive Optics for Astronomical Telescope”, Hardy 1998)
Mauna Kea
Chajnantor
Paranal
La Palma
World’s best astronomical seeing sites

## Slide 12: 1. 9 CN2 distribution at Mauna Kea
- Background turbulence alone = 0.36 arcsec
- Addition of the single layer = 0.53 arcsec
“Adaptive Optics for Astronomical Telescope” (Hardy 1998)
Height (km)
Refractive index parameter CN2
Effect of the surface boundary layer is negligible because the telescope locates at the top of the mountain and the telescope is mounted on high pillar.
hSBL ~ a few x 10 m

## Slide 13
Okita et al. 2010
1. 10 On the Antarctic plateau
Syowa Station
No diurnal temperature variation in winter
weak wind-shear (polar vortex)
smooth snow surface
Dome = local maxima of the plateau
Stable atmosphere
Weak wind shear
South Pole

## Slide 14: 1. 11 CN2 distribution on Antarctica
Lascaux et al. (2011)
Lascaux et al. (2011)
- No strong turbulence at high altitude
- Strong surface boundary layer near the surface

## Slide 15: 1. 12 CN2 distribution on Antarctica
Lascaux et al. (2011)
15 ~ 30m
at Dome A, C, (and F?)

## Slide 16
Surface Boundary Layer
Height
Stratosphere
200 ~
10 m
~10km
Astronomical seeing at “Dome” on the Antarctic plateau is generally considered as the super-position of the contributions from two layers; the surface boundary layer and the free atmosphere above.
Free Atmosphere
Troposphere
1. 13 Atmosphere structure at “Dome”
On the Antarctic plateau has only two component of turbulence,
Surface boundary Layer near the snow surface, and
Free atmosphere above it

## Slide 17
1. 14 Wind speed
Aristidi et al. (2005)
full line = summer
dashed = winter
Dome C
Paranal
South Pole
Mauna Kea
Wind speed (m/s)
Altitude (km)
Jet stream
Polar vortex
“In sub-polar regions the speed of the vortex decreases with increasing latitude.”
Aristidi et al. (2005)
Latitude of Dome C = 75 degree

## Slide 18: 1. 15 Previous studies (Simulation)
Swain & Gallee (2006)
Simulation of the height of the surface boundary layer
Simulations suggest that the free atmosphere seeing could be 0.21” and the height of the surface boundary layer is 18 m at Dome Fuji (Saunders et al. 2009; Swain & Gallee 2006).
Saunders et al. (2009)
Simulation of the free atmosphere seeing
Dome Fuji

## Slide 19: 1. 16 Previous studies (site tests)
Seeing distribution
(a) above surface layer
(c) Inside surface layer
(b) intermediate
Aristidi et al. (2009)
Bonner et al. (2009)
CT2 distribution
Seeing (arcsec)
height (m)
Median height = 13.9m
Dome A
Dome C
not observed yet
Dome Fuji

## Slide 20: 1. 17 Aim of this study
The aim of this study is to investigate the astronomical seeing in the free atmosphere above and to determine the height of the surface boundary layer at Dome Fuji on the Antarctic plateau.

## Slide 21: Contents
Introduction
Instrumentations
Data processing and error analysis
Results
Discussion and conclusion
Future work

## Slide 22: 2. 1 Measuring quantity
Fried parameter
Phase structure function
Seeing
Refractive index structure function

## Slide 23: 2. 2 CT2, Dα(r)  ε
DIMM
α = incidence angle
φ = phase
SODAR
Snodar
Ultrasonic anemometer
Micro-thermal sensor
Balloon-bone temperature sensor
In this presentation, we only discus the data of DIMM and SODAR.

## Slide 24: 2. 3 DIMM principle
DIMM measures the variance of the incidence angles on the detector CCD.
r
Differential Image Motion Monitor
DIMM can not measure the profile of CN2.
DIMM only measure the integrated value of r0 = “total seeing”
α = incidence angle

## Slide 25: 2. 4 DF-DIMM
Dome Fuji Differential Image Motion Monitor
11m
PLATO-F
DF-DIMM
We used an exclusive small full-automatic telescope on the 9 m astronomical tower in order to be as height as possible within, and sometimes above, the surface boundary layer.
Power supply,
Communication

## Slide 26: 2. 5 SODAR principle
V
pppp…
Takato (2008)
SOnic Detection And Ranging
(1) Intensity of echo  turbulence strength (CT2)
(2) Doppler shift  3-D wind velocity (u, v, w)
Tatarskii (1971)
dh
Received power Pr(h) is,
Emit sound and receive the echo.

## Slide 27: 2. 6 SODAR at Dome Fuji
Unfortunately we had no calibration for η, so we couldn’t convert from Pr to CT2.
Takato (2008)

## Slide 28
DIMM
2013
SODAR
2006/2007
> 11m
seeing ε
40 ~ 400 m
∝CT2
8 ~ 50 m
∝CT2
0 ~ 16 m
CT2
wind speed
temperature
pressure
DIMM
2011
> 2m
seeing ε
Weather mast
2011
Snodar
2011
Future work
In this presentation we discuss > 11 m seeing and turbulence strength from 40 to 400m.
2. 7 Observable height

## Slide 29: Contents
Introduction
Instrumentations
Data processing and error analysis
Results
Discussion and conclusion
Future work

## Slide 30: Contents
Introduction
Instrumentations
Data processing and error analysis
Results
Discussion and conclusion
Future work

## Slide 31
4. 1 Seeing histogram
DIMM observations 11 m above the snow surface at a wavelength of 472nm from 2013 January 1 to January 23 in 2013.
In all, 3768 seeing estimated, each one being the average of 450 images over a period of about five minutes.
Mean | 0.68”
Median | 0.52”
Mode | 0.36”
75%tile | 0.78”
25%tile | 0.36”
Note: This larger statistic values are believed to be caused by periods when the telescope was within the turbulence boundary layer.

## Slide 32
4. 2 DIMM time series (1/2)

## Slide 33
4. 3 DIMM time series (2/2)

## Slide 34
A period of excellent seeing, below 0.2” and continuing about 4 hours, was observed near local midnight at 2013 January 6.
Other periods of excellent seeing, less than 0.3”, were observed close to midnight on a total of six occasions (January 6, 11, 15, 19, 21, and 23)
4. 4 DIMM result
The seeing has a tendency to have a local minimum of ~0.3” a few hours before local midnight.
This is clear in the data for January 6,7,9, and 16.

## Slide 35
4. 5 SODAR time series
SODAR observations from 2006 December 21 to 2007 January 7.
We setup the minimum height hmin = 40 m and the resolution Δh = 20 m.
height (m)
Takato (2008)
Day from December 21, 2007 (UT)

## Slide 36
4. 6 Diurnal variation for turbulence
Local time (UTC+3)
Height (m)
minimum height = 40m
Convection
by the solar heating
To investigate the diurnal variation of the turbulence, we used the dataset from 2006 December 21 to 2007 January 7 (hmin = 40 m and Δh = 20 m).
turbulence strength

## Slide 37: Contents
Introduction
Instrumentations
Data processing and error analysis
Results
Discussion and conclusion
Future work

## Slide 38
disappearance of the surface boundary layer
the surface boundary layer is below the level of the telescope
the surface boundary layer is higher than the level of the telescope
1)
2)
3)
Surface Boundary Layer
Height
Stratosphere
10 ~
200 m
~10km
Free Atmosphere
Troposphere
5. 1 Cause for excellent seeing
Model of the atmosphere structure at “Dome” on the Antarctic plateau

## Slide 39
A similar local minimum before midnight has also been seen at Dome C
Aristidi et al. (2005) has interpreted this as the disappearance of the surface boundary layer.
Our results are consistent with this.
5. 2 Disappearance of the SBL

## Slide 40
The excellent seeing at local midnight has not been reported at Dome C.
The weak solar energy input at midnight is expected to result in an intense temperature gradient near the snow surface at this time.
This strong temperature gradient should produce a strong surface boundary layer, and hence poor seeing from the surface.
This is only consistent with our observations if the surface boundary layer is below the level of the telescope.
Our DIMM was above the surface boundary layer during these periods, and was sampling the free atmosphere seeing.
5. 3 Above SBL

## Slide 41
5. 4 Diurnal variation for seeing
0
6
12
18
24
Local time (UTC+3)
We plot all seeing data,
Large seeing value
 Observation inside SBL
Small seeing value
 Observation above SBL
~0.2” seeing can be observed every time except around noon.
This means that the free atmosphere seeing will be ~0.2” every time around noon.
0.2”

## Slide 42
5. 5 Considering SODAR results
Turbulence strength
Integrate from 40 to 400m,
Turbulence of 40-400m would be caused by the Convection of the solar heating.
Turbulence is almost constant except around noon.

## Slide 43
5. 6 Effect of convection
Lower limit of the seeing value correlates with the turbulence strength of 40-400m.
At 18h–6h (nighttime), the seeing value depends on the height of the surface boundary layer and its strength. When low SBL, we can obtain ~0.2” seeing.
At 6h-18h (daytime), convection by the solar heating makes worse the seeing value even in the low SBL.
Around 18h, seeing value tends to small by disappearance of SBL.

## Slide 44
5. 7 Conclusions
Surface Boundary Layer
Height
~10m
~10km
Free Atmosphere
Polar Vortex
0
24
12
hour
Convection
~300m
Model turbulence profile
The free atmosphe seeing is ~0.2”.
The height of the surface boundary layer can be as low as ~11 m.
At daytime the convection by the solar heating makes worse the free atmosphere seeing.
At Dome Fuji on the Antarctic plateau,
0.2”

## Slide 45: Contents
Introduction
Instrumentations
Data processing and error analysis
Results
Discussion and conclusion
Future work

## Slide 46
6. 1 Aim of this study
The aim of this study is to investigate the astronomical seeing in the free atmosphere above and to determine the height of the surface boundary layer at Dome Fuji on the Antarctic plateau.

## Slide 47
DIMM
2013
> 11m
seeing ε
SODAR
2006/2007
40 ~ 400 m
∝CT2
DIMM
2011
> 2m
seeing ε
0 ~ 16 m
CT2
wind speed
temperature
pressure
Weather mast
2011
8 ~ 50 m
∝CT2
Snodar
2011
6. 2 Observable height

## Slide 48
6. 3 DIMM at 2 m
about 2m
Preliminary Result

## Slide 49
6. 4 Weather mast
Pt 15.8
Pt 12.0
Pt 9.5
Pt 0.3
Sonic 14.4
Sonic 6.1
Barometer
Sonic anemometer
Pt sensor
(C) Young
Company
Temperature gradient
0
5
10
15
20
Preliminary Result

## Slide 50
6. 5 Snodar
Surface layer NOn-Doppler Acoustic Radar
Bonner et al. (2009)
Preliminary Result

## Slide 51
6. 6 Aim of this study
The aim of this study is to investigate the astronomical seeing in the free atmosphere above and to determine the height of the surface boundary layer at Dome Fuji on the Antarctic plateau.
Future Work

## Slide 52
We acknowledge the National Institute of Polar Research and the 51st - 54th Japanese Antarctic Research Expeditions. This research is supported by the National Institute of Polar Research through Project Research no.KP-12, the Grants-in-Aid for Scientific Research 18340050 and 23103002, the Australian Research Council and Australian government infrastructure funding managed by Astronomy Australia Limited. Hirofumi Okita thanks the Sasakawa Scientific Research Grant from The Japan Science Society, and Tohoku University International Advanced Research and Education Organization for scholarships and research expenses.
Acknowledgements

## Slide 53
Thank you.

## Slide 54: Contents
Introduction
Instrumentations
Data processing and error analysis
Results
Discussion and conclusion
Future work
Appendix

## Slide 55: A. 1 Kolmogorov theory
Structure function
Correlation function
In the inertial range, the Velocity fluctuations V [L T-1] are governed only by the scale size l [L] and the rate of energy input and dissipation ε [L2T-3]. Dimensional consideration,
Kolmogorov (1941)
Tyson & Frazier (2012)

## Slide 56: A. 2 Structure function
Velocity structure function
Temperature structure function
P = pressure in mill bar
T = temperature, K
Refractivity
Refractive index structure function
Tatarskii (1971)

## Slide 57: A. 3 Power spectrum
Three-dimensional power spectrum of temperature fluctuation
Three-dimensional refractive index power spectrum
Tatarskii (1968)
Andrews (2004)

## Slide 58: A. 4 Phase structure function
Phase shift
Phase correlation function
Phase structure function

## Slide 59: A. 5 Coherence function
Coherence function at the telescope aperture
zenith angle correction
Coherence function
“Adaptive Optics for Astronomical Telescope” (Hardy 1998)

## Slide 60
B(f) = atmospheric transfer function
T(f) = telescope transfer function
Optical transfer function
Fried also defined the parameter r0, which is the diameter of a telescope which would have the same resolving power as the atmospheric transfer function
A. 6 Optical transfer function
Small aperture
Large aperture

## Slide 61
A. 7 Fried parameter
Here, B(f) may be written
Fried parameter
Phase structure function

## Slide 62
B. 1 DF-DIMM

## Slide 63
・5W heaters protect the frosting of the optical windows.
・Motors and the electric circuits are heated for -80oC operation.
・LX200 and ST-i were tested in -80oC environment in a freezer.
The Telescope, the CCDs, and the control PCs need 43W. It needs additional 63W for heaters in -80oC operation.
We use Meade LX200AFC-8” telescope and SBIG ST-i CCD camera for DF-DIMM. These commercial models are relatively low prices and have high reliability. We have to modified them for in the low temperature operation. We replaced grease, bearings, and cables, and we added heaters inside them. After the modification we checked them in a -80oC freezer.
(top) optical windows with 2W heaters, (middle) motor and circuit with heaters and polyurethane form, (bottom) LX200 in a freezer of -80C
Meade LX200ACF-8”
Cassegrain telescope
SBIG ST-i
monochrome CCD camera
Based on Okita et al. 2013, IAU Symposium, 288, 25
B. 2 DF-DIMM hardware

## Slide 64
Two Linux (Ubuntu 11.04) PCs control LX200 and ST-i(s). We made control software using C language, awk and bash script. The pointing, focusing, and seeing measurements are curried out automatically by this software.
We used Canopus for seeing measurements. This seeing measurement procedure was repeated. The ST-i CCD camera, which were controled by Nightview, takes 450 frames for each measurements. We use cfitsio for pre-reductions of their images. After the pre-reduction Sextractor is used for detecting the star positions. The results of the seeing measurement is transported via PLATO-F Iridium communication.
take 450 frames
pre-reduction
detect the star positions
by using Sextractor
calculate the average, variance, and covariance of the relative star positions
Pointing Automatically
Focusing Automatically
air-mass correction
Based on Okita et al. 2013, IAU Symposium, 288, 25
B. 3 DF-DIMM software

## Slide 66
disappearance of the surface boundary layer
the surface boundary layer is below the level of the telescope
the surface boundary layer is higher than the level of the telescope
11m

## Slide 67: Seeing Results (2/4)

## Slide 68: Seeing Results (3/4)