## Slide 1: Excellent seeing at Dome Fuji
Okita et al. A&A, 554, L5 (2013)
and
some unpublished results
Hirofumi OKITA
Astronomical Institute, Tohoku University
Ph. D student
“Site” Session
12:30-12:45, July 24, 2013
Second workshop of the SCAR AAA
July 24-26,2013, Siena, Italy

## Slide 2: Abstract
We found,
Height of surface boundary layer is 15.3 m
Free atmosphere seeing is 0.2’’
Solar heating makes convection, which affects the seeing
at Dome Fuji on the Antarctic Plateau.
1. Abstract
Murata et al. 2009

## Slide 3: Observations
2. Observations and Results
Polar Night
Polar Day
Observations were carried out during 2006 – 2013.
↑ Measurement range for the instruments.

## Slide 4: 2006-2007 SODAR
2. Observations and Results
From 2006 December 21 to 2007 January 7
Observations in “Polar day season”
Turbulence profiling between 40 and 400 m with Δh = 20 m
Photo by H. Motoyama
(Sonic Detection And Ringing)
 Diurnal variation is clearly seen.

## Slide 5: 2011 Snodar
2. Observations and Results
- From 2011 January 25 to May 13
- Turbulence profiling between 8 and 45 m with Δh = 0.9 m
We used the definition of Bonner et al. (2009) for the height of the surface boundary layer.
Note: This results are not considered with the weather condition!
Polar day
Polar night

## Slide 6: 2011 PTs
2. Observations and Results
From 2011 January 21 to July 4
0.3, 9.5, 12, and 15.8 m above snow surface
Measuring each two minute
Sometimes the temperature of 0.3 m above the snow surface became cold.
Inversion layer
Polar day
Polar night
Polar night
red cross – 0.3 m
blue square – 9.5 m
green circle – 12 m
black triangle – 15.8 m

## Slide 7: 2011 Tohoku DIMM
2. Observations and Results
From 2011 January 25 to 28
Observations in “Polar day season”
Observations 2 m above the snow surface

## Slide 8: 2013 DF-DIMM
2. Observations and Results
From 2013 January 4 to July 23
Observation in “Polar day season”
Observations 11 m above the snow surface
Excellent seeing, below 0.2′′ and continuing for several hours, was observed near local midnight.
Local minimum of ∼ 0.3′′ near 18 h local time is also observed.

## Slide 9: 2013 DF-DIMM
2. Observations and Results
- From 2011 January 21 to July 4
- 0.3, 9.5, 12, and 15.8 m above the snow surface temperature
- Measuring each two minute

## Slide 10: Tohoku DIMM & DF-DIMM
2. Observations and Results
Seeing values are considered to become large due to the turbulent layer near snow surface, i.e., surface boundary layer.

## Slide 11
3.1 Surface Boundary Layer
We should discuss the surface boundary layer height only in the fine weather condition that the astronomical observations can be performed.
In the find weather, the atmosphere near the snow surface becomes cold by the radiative cooling and make a positive temperature gradient.
Thus we define the “fine weather” as the temperature gradient become 0.5 C/m or larger.
3. Discussions
0.3-9.5 -- red cross
9.5-15.8 -- blue square

## Slide 12
3.1 Surface Boundary Layer
3. Discussions
Only in the fine weather condition, the surface boundary layer height at Dome Fuji is 15.3 m.
Fine weather --- Red solid
All weather --- blue dot

## Slide 13
3.2 Free Atmosphere
3. Discussions
The lower limit of the seeing would be obtained when the telescope was higher than the surface boundary layer.
Thus the lower limit of 0-6h, 16-24h means that the free atmosphere seeing is about 0.2’’.
We plot all seeing value with the same hour.

## Slide 14
3.3 Atmospheric Convection
3. Discussions
Convection
by the solar heating
The lower limit of 6-16h is about 0.5’’.
This means that the solar heating in the polar day makes the atmospheric convection up to 300 m above the snow surface.
In the polar night, the convection will not occur.

## Slide 15: Conclusion
At Dome Fuji on the Antarctic plateau,
Height of surface boundary layer is 15.3 m in the fine weather condition.
Free atmosphere seeing is 0.2’’.
Solar heating at daytime in the polar day season makes convection and affects the seeing.
4. Conclusion

## Slide 17: Backup

## Slide 18: 1.4 Simulations’ results
Swain & Gallee (2006)
Simulation of the height of the surface boundary layer
The free atmosphere seeing could be 0.21”.
The height of the surface boundary layer would be 18 m.
Saunders et al. (2009)
Simulation of the free atmosphere seeing
Dome Fuji
1. Introduction
 We planed to observed them at Dome Fuji.
Dome Fuji

## Slide 19
3.4 Turbulence Strength
3. Discussions
Tohoku DIMM (2 m) 1.1”
DF-DIMM (11 m) 0.52”
Surface Boundary Layer
Atmospheric Convection
Free Atmosphere
eSBL~0.89”
eAC~0.32”
eFA~0.2”